Opening Thermocycler lid

Deactivating Thermocycler lid heating

Setting Thermocycler well block temperature to 4.0 °C

Picking up tip from A1 of Opentrons Flex 96 Tip Rack 50 µL on slot D3

Aspirating 10.0 uL from A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Dispensing 10.0 uL into A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Aspirating 10.0 uL from A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Dispensing 10.0 uL into A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Aspirating 10.0 uL from A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Dispensing 10.0 uL into A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Aspirating 10.0 uL from A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 25.0 uL/sec

Delaying for 0 minutes and 1.0 seconds

Dispensing 10.0 uL into A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 10.0 uL/sec

Moving to A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2

Blowing out at A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2

Touching tip

Dropping tip into Trash Bin on slot A3

Picking up tip from B1 of Opentrons Flex 96 Tip Rack 50 µL on slot D3

Aspirating 10.0 uL from B2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Dispensing 10.0 uL into B2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Aspirating 10.0 uL from B2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Dispensing 10.0 uL into B2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Aspirating 10.0 uL from B2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Dispensing 10.0 uL into B2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Aspirating 10.0 uL from B2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 25.0 uL/sec

Delaying for 0 minutes and 1.0 seconds

Dispensing 10.0 uL into B2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 10.0 uL/sec

Moving to B2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2

Blowing out at B2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2

Touching tip

Dropping tip into Trash Bin on slot A3

Picking up tip from C1 of Opentrons Flex 96 Tip Rack 50 µL on slot D3

Aspirating 10.0 uL from C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Dispensing 10.0 uL into C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Aspirating 10.0 uL from C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Dispensing 10.0 uL into C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Aspirating 10.0 uL from C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Dispensing 10.0 uL into C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Aspirating 10.0 uL from C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 25.0 uL/sec

Delaying for 0 minutes and 1.0 seconds

Dispensing 10.0 uL into C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 10.0 uL/sec

Moving to C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2

Blowing out at C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2

Touching tip

Dropping tip into Trash Bin on slot A3

Picking up tip from D1 of Opentrons Flex 96 Tip Rack 50 µL on slot D3

Aspirating 10.0 uL from D2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Dispensing 10.0 uL into D2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Aspirating 10.0 uL from D2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Dispensing 10.0 uL into D2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Aspirating 10.0 uL from D2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Dispensing 10.0 uL into D2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Aspirating 10.0 uL from D2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 25.0 uL/sec

Delaying for 0 minutes and 1.0 seconds

Dispensing 10.0 uL into D2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 10.0 uL/sec

Moving to D2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2

Blowing out at D2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2

Touching tip

Dropping tip into Trash Bin on slot A3

Picking up tip from E1 of Opentrons Flex 96 Tip Rack 50 µL on slot D3

Aspirating 10.0 uL from E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Dispensing 10.0 uL into E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Aspirating 10.0 uL from E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Dispensing 10.0 uL into E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Aspirating 10.0 uL from E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Dispensing 10.0 uL into E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Aspirating 10.0 uL from E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 25.0 uL/sec

Delaying for 0 minutes and 1.0 seconds

Dispensing 10.0 uL into E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 10.0 uL/sec

Moving to E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2

Blowing out at E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2

Touching tip

Dropping tip into Trash Bin on slot A3

Picking up tip from F1 of Opentrons Flex 96 Tip Rack 50 µL on slot D3

Aspirating 10.0 uL from A2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Aspirating 10.0 uL from A2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Dispensing 10.0 uL into A2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Dispensing 10.0 uL into A2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Aspirating 10.0 uL from A2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Dispensing 10.0 uL into A2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Aspirating 10.0 uL from A2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 25.0 uL/sec

Delaying for 0 minutes and 1.0 seconds

Dispensing 10.0 uL into A2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 10.0 uL/sec

Moving to A2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2

Blowing out at A2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2

Touching tip

Dropping tip into Trash Bin on slot A3

Picking up tip from G1 of Opentrons Flex 96 Tip Rack 50 µL on slot D3

Aspirating 10.0 uL from B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Aspirating 10.0 uL from B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Dispensing 10.0 uL into B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Dispensing 10.0 uL into B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Aspirating 10.0 uL from B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Dispensing 10.0 uL into B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Aspirating 10.0 uL from B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 25.0 uL/sec

Delaying for 0 minutes and 1.0 seconds

Dispensing 10.0 uL into B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 10.0 uL/sec

Moving to B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2

Blowing out at B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2

Touching tip

Dropping tip into Trash Bin on slot A3

Picking up tip from H1 of Opentrons Flex 96 Tip Rack 50 µL on slot D3

Aspirating 10.0 uL from C2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Aspirating 10.0 uL from C2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Dispensing 10.0 uL into C2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Dispensing 10.0 uL into C2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Aspirating 10.0 uL from C2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Dispensing 10.0 uL into C2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Aspirating 10.0 uL from C2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 25.0 uL/sec

Delaying for 0 minutes and 1.0 seconds

Dispensing 10.0 uL into C2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 10.0 uL/sec

Moving to C2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2

Blowing out at C2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2

Touching tip

Dropping tip into Trash Bin on slot A3

Picking up tip from A2 of Opentrons Flex 96 Tip Rack 50 µL on slot D3

Aspirating 10.0 uL from D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Aspirating 10.0 uL from D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Dispensing 10.0 uL into D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Dispensing 10.0 uL into D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Aspirating 10.0 uL from D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Dispensing 10.0 uL into D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Aspirating 10.0 uL from D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 25.0 uL/sec

Delaying for 0 minutes and 1.0 seconds

Dispensing 10.0 uL into D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 10.0 uL/sec

Moving to D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2

Blowing out at D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2

Touching tip

Dropping tip into Trash Bin on slot A3

Picking up tip from B2 of Opentrons Flex 96 Tip Rack 50 µL on slot D3

Aspirating 10.0 uL from E2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Aspirating 10.0 uL from E2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Dispensing 10.0 uL into E2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Dispensing 10.0 uL into E2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Aspirating 10.0 uL from E2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Dispensing 10.0 uL into E2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 150.0 uL/sec

Aspirating 10.0 uL from E2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 25.0 uL/sec

Delaying for 0 minutes and 1.0 seconds

Dispensing 10.0 uL into E2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 10.0 uL/sec

Moving to E2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2

Blowing out at E2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2

Touching tip

Dropping tip into Trash Bin on slot A3

Picking up tip from C2 of Opentrons Flex 96 Tip Rack 50 µL on slot D3

Aspirating 10.0 uL from A3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 15.0 uL/sec

Dispensing 10.0 uL into A3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 15.0 uL/sec

Aspirating 10.0 uL from A3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 15.0 uL/sec

Dispensing 10.0 uL into A3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 15.0 uL/sec

Aspirating 10.0 uL from A3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 15.0 uL/sec

Delaying for 0 minutes and 1.0 seconds

Dispensing 10.0 uL into A3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 3.0 uL/sec

Moving to A3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2

Blowing out at A3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2

Touching tip

Dropping tip into Trash Bin on slot A3

Picking up tip from D2 of Opentrons Flex 96 Tip Rack 50 µL on slot D3

Aspirating 10.0 uL from B3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 15.0 uL/sec

Dispensing 10.0 uL into B3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 15.0 uL/sec

Aspirating 10.0 uL from B3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 15.0 uL/sec

Dispensing 10.0 uL into B3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 15.0 uL/sec

Aspirating 10.0 uL from B3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 15.0 uL/sec

Delaying for 0 minutes and 1.0 seconds

Dispensing 10.0 uL into B3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 3.0 uL/sec

Moving to B3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2

Blowing out at B3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2

Touching tip

Dropping tip into Trash Bin on slot A3

Picking up tip from E2 of Opentrons Flex 96 Tip Rack 50 µL on slot D3

Aspirating 10.0 uL from C3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 15.0 uL/sec

Dispensing 10.0 uL into C3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 15.0 uL/sec

Aspirating 10.0 uL from C3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 15.0 uL/sec

Dispensing 10.0 uL into C3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 15.0 uL/sec

Aspirating 10.0 uL from C3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 15.0 uL/sec

Delaying for 0 minutes and 1.0 seconds

Dispensing 10.0 uL into C3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 3.0 uL/sec

Moving to C3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2

Blowing out at C3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2

Touching tip

Dropping tip into Trash Bin on slot A3

Picking up tip from F2 of Opentrons Flex 96 Tip Rack 50 µL on slot D3

Aspirating 10.0 uL from D3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 15.0 uL/sec

Dispensing 10.0 uL into D3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 15.0 uL/sec

Aspirating 10.0 uL from D3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 15.0 uL/sec

Dispensing 10.0 uL into D3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 15.0 uL/sec

Aspirating 10.0 uL from D3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 15.0 uL/sec

Delaying for 0 minutes and 1.0 seconds

Dispensing 10.0 uL into D3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 3.0 uL/sec

Moving to D3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2

Blowing out at D3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2

Touching tip

Dropping tip into Trash Bin on slot A3

Picking up tip from G2 of Opentrons Flex 96 Tip Rack 50 µL on slot D3

Aspirating 10.0 uL from E3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 15.0 uL/sec

Dispensing 10.0 uL into E3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 15.0 uL/sec

Aspirating 10.0 uL from E3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 15.0 uL/sec

Dispensing 10.0 uL into E3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 15.0 uL/sec

Aspirating 10.0 uL from E3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 15.0 uL/sec

Delaying for 0 minutes and 1.0 seconds

Dispensing 10.0 uL into E3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 3.0 uL/sec

Moving to E3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2

Blowing out at E3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2

Touching tip

Dropping tip into Trash Bin on slot A3

Picking up tip from H2 of Opentrons Flex 96 Tip Rack 50 µL on slot D3

Distributing 20.0 from A1 of Opentrons 24 Tube Rack with NEST 1.5 mL Snapcap on slot D1 to A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Transferring 20.0 from A1 of Opentrons 24 Tube Rack with NEST 1.5 mL Snapcap on slot D1 to A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Aspirating 45.0 uL from A1 of Opentrons 24 Tube Rack with NEST 1.5 mL Snapcap on slot D1 at 6.0 uL/sec

Dispensing 20.0 uL into A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 20.0 uL into B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Blowing out at A1 of Opentrons 24 Tube Rack with NEST 1.5 mL Snapcap on slot D1

Aspirating 45.0 uL from A1 of Opentrons 24 Tube Rack with NEST 1.5 mL Snapcap on slot D1 at 6.0 uL/sec

Dispensing 20.0 uL into C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 20.0 uL into D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Blowing out at A1 of Opentrons 24 Tube Rack with NEST 1.5 mL Snapcap on slot D1

Aspirating 45.0 uL from A1 of Opentrons 24 Tube Rack with NEST 1.5 mL Snapcap on slot D1 at 6.0 uL/sec

Dispensing 20.0 uL into E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 20.0 uL into F1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Blowing out at A1 of Opentrons 24 Tube Rack with NEST 1.5 mL Snapcap on slot D1

Dropping tip into Trash Bin on slot A3

Picking up tip from A3 of Opentrons Flex 96 Tip Rack 50 µL on slot D3

Distributing [7.0, 7.0, 7.0, 7.0, 7.0, 7.0] from A2 of Opentrons 24 Tube Rack with NEST 1.5 mL Snapcap on slot D1 to A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Transferring [7.0, 7.0, 7.0, 7.0, 7.0, 7.0] from A2 of Opentrons 24 Tube Rack with NEST 1.5 mL Snapcap on slot D1 to A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Aspirating 47.0 uL from A2 of Opentrons 24 Tube Rack with NEST 1.5 mL Snapcap on slot D1 at 6.0 uL/sec

Dispensing 7.0 uL into A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 7.0 uL into B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 7.0 uL into C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 7.0 uL into D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 7.0 uL into E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 7.0 uL into F1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Blowing out at A2 of Opentrons 24 Tube Rack with NEST 1.5 mL Snapcap on slot D1

Dropping tip into Trash Bin on slot A3

Picking up tip from B3 of Opentrons Flex 96 Tip Rack 50 µL on slot D3

Aspirating 1.0 uL from C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 3.0 uL/sec

Dispensing 1.0 uL into A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 3.0 uL/sec

Aspirating 2.0 uL from A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 2.0 uL into A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 15.0 uL/sec

Aspirating 3.0 uL from A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 3.0 uL into A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Aspirating 4.0 uL from A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 3.0 uL/sec

Dispensing 4.0 uL into A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 1.2000000000000002 uL/sec

Moving to A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Blowing out at A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Touching tip

Dropping tip into Trash Bin on slot A3

Picking up tip from C3 of Opentrons Flex 96 Tip Rack 50 µL on slot D3

Aspirating 1.0 uL from B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 3.0 uL/sec

Dispensing 1.0 uL into A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 3.0 uL/sec

Aspirating 2.0 uL from A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 2.0 uL into A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 15.0 uL/sec

Aspirating 3.0 uL from A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 3.0 uL into A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Aspirating 4.0 uL from A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 3.0 uL/sec

Dispensing 4.0 uL into A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 1.2000000000000002 uL/sec

Moving to A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Blowing out at A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Touching tip

Dropping tip into Trash Bin on slot A3

Picking up tip from D3 of Opentrons Flex 96 Tip Rack 50 µL on slot D3

Aspirating 1.0 uL from A3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 3.0 uL/sec

Dispensing 1.0 uL into A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 3.0 uL/sec

Aspirating 5.0 uL from A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 5.0 uL into A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 15.0 uL/sec

Aspirating 10.0 uL from A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 10.0 uL into A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Aspirating 15.0 uL from A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 3.0 uL/sec

Dispensing 15.0 uL into A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 1.2000000000000002 uL/sec

Moving to A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Blowing out at A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Touching tip

Dropping tip into Trash Bin on slot A3

Picking up tip from E3 of Opentrons Flex 96 Tip Rack 50 µL on slot D3

Aspirating 1.0 uL from A1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 3.0 uL/sec

Dispensing 1.0 uL into B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 3.0 uL/sec

Aspirating 2.0 uL from B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 2.0 uL into B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 15.0 uL/sec

Aspirating 3.0 uL from B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 3.0 uL into B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Aspirating 4.0 uL from B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 3.0 uL/sec

Dispensing 4.0 uL into B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 1.2000000000000002 uL/sec

Moving to B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Blowing out at B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Touching tip

Dropping tip into Trash Bin on slot A3

Picking up tip from F3 of Opentrons Flex 96 Tip Rack 50 µL on slot D3

Aspirating 1.0 uL from A2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 3.0 uL/sec

Dispensing 1.0 uL into B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 3.0 uL/sec

Aspirating 2.0 uL from B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 2.0 uL into B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 15.0 uL/sec

Aspirating 3.0 uL from B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 3.0 uL into B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Aspirating 4.0 uL from B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 3.0 uL/sec

Dispensing 4.0 uL into B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 1.2000000000000002 uL/sec

Moving to B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Blowing out at B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Touching tip

Dropping tip into Trash Bin on slot A3

Picking up tip from G3 of Opentrons Flex 96 Tip Rack 50 µL on slot D3

Aspirating 1.0 uL from B3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 3.0 uL/sec

Dispensing 1.0 uL into B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 3.0 uL/sec

Aspirating 5.0 uL from B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 5.0 uL into B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 15.0 uL/sec

Aspirating 10.0 uL from B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 10.0 uL into B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Aspirating 15.0 uL from B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 3.0 uL/sec

Dispensing 15.0 uL into B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 1.2000000000000002 uL/sec

Moving to B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Blowing out at B1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Touching tip

Dropping tip into Trash Bin on slot A3

Picking up tip from H3 of Opentrons Flex 96 Tip Rack 50 µL on slot D3

Aspirating 1.0 uL from E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 3.0 uL/sec

Dispensing 1.0 uL into C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 3.0 uL/sec

Aspirating 2.0 uL from C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 2.0 uL into C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 15.0 uL/sec

Aspirating 3.0 uL from C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 3.0 uL into C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Aspirating 4.0 uL from C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 3.0 uL/sec

Dispensing 4.0 uL into C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 1.2000000000000002 uL/sec

Moving to C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Blowing out at C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Touching tip

Dropping tip into Trash Bin on slot A3

Picking up tip from A4 of Opentrons Flex 96 Tip Rack 50 µL on slot D3

Aspirating 1.0 uL from C2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 3.0 uL/sec

Dispensing 1.0 uL into C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 3.0 uL/sec

Aspirating 2.0 uL from C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 2.0 uL into C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 15.0 uL/sec

Aspirating 3.0 uL from C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 3.0 uL into C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Aspirating 4.0 uL from C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 3.0 uL/sec

Dispensing 4.0 uL into C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 1.2000000000000002 uL/sec

Moving to C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Blowing out at C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Touching tip

Dropping tip into Trash Bin on slot A3

Picking up tip from B4 of Opentrons Flex 96 Tip Rack 50 µL on slot D3

Aspirating 1.0 uL from C3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 3.0 uL/sec

Dispensing 1.0 uL into C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 3.0 uL/sec

Aspirating 5.0 uL from C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 5.0 uL into C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 15.0 uL/sec

Aspirating 10.0 uL from C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 10.0 uL into C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Aspirating 15.0 uL from C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 3.0 uL/sec

Dispensing 15.0 uL into C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 1.2000000000000002 uL/sec

Moving to C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Blowing out at C1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Touching tip

Dropping tip into Trash Bin on slot A3

Picking up tip from C4 of Opentrons Flex 96 Tip Rack 50 µL on slot D3

Aspirating 1.0 uL from B2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 3.0 uL/sec

Dispensing 1.0 uL into D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 3.0 uL/sec

Aspirating 2.0 uL from D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 2.0 uL into D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 15.0 uL/sec

Aspirating 3.0 uL from D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 3.0 uL into D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Aspirating 4.0 uL from D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 3.0 uL/sec

Dispensing 4.0 uL into D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 1.2000000000000002 uL/sec

Moving to D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Blowing out at D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Touching tip

Dropping tip into Trash Bin on slot A3

Picking up tip from D4 of Opentrons Flex 96 Tip Rack 50 µL on slot D3

Aspirating 1.0 uL from E2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 3.0 uL/sec

Dispensing 1.0 uL into D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 3.0 uL/sec

Aspirating 2.0 uL from D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 2.0 uL into D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 15.0 uL/sec

Aspirating 3.0 uL from D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 3.0 uL into D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Aspirating 4.0 uL from D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 3.0 uL/sec

Dispensing 4.0 uL into D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 1.2000000000000002 uL/sec

Moving to D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Blowing out at D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Touching tip

Dropping tip into Trash Bin on slot A3

Picking up tip from E4 of Opentrons Flex 96 Tip Rack 50 µL on slot D3

Aspirating 1.0 uL from D3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 3.0 uL/sec

Dispensing 1.0 uL into D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 3.0 uL/sec

Aspirating 5.0 uL from D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 5.0 uL into D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 15.0 uL/sec

Aspirating 10.0 uL from D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 10.0 uL into D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Aspirating 15.0 uL from D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 3.0 uL/sec

Dispensing 15.0 uL into D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 1.2000000000000002 uL/sec

Moving to D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Blowing out at D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Touching tip

Dropping tip into Trash Bin on slot A3

Picking up tip from F4 of Opentrons Flex 96 Tip Rack 50 µL on slot D3

Aspirating 1.0 uL from D2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 3.0 uL/sec

Dispensing 1.0 uL into E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 3.0 uL/sec

Aspirating 2.0 uL from E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 2.0 uL into E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 15.0 uL/sec

Aspirating 3.0 uL from E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 3.0 uL into E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Aspirating 4.0 uL from E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 3.0 uL/sec

Dispensing 4.0 uL into E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 1.2000000000000002 uL/sec

Moving to E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Blowing out at E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Touching tip

Dropping tip into Trash Bin on slot A3

Picking up tip from G4 of Opentrons Flex 96 Tip Rack 50 µL on slot D3

Aspirating 1.0 uL from D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 3.0 uL/sec

Dispensing 1.0 uL into E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 3.0 uL/sec

Aspirating 2.0 uL from E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 2.0 uL into E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 15.0 uL/sec

Aspirating 3.0 uL from E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 3.0 uL into E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Aspirating 4.0 uL from E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 3.0 uL/sec

Dispensing 4.0 uL into E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 1.2000000000000002 uL/sec

Moving to E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Blowing out at E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Touching tip

Dropping tip into Trash Bin on slot A3

Picking up tip from H4 of Opentrons Flex 96 Tip Rack 50 µL on slot D3

Aspirating 1.0 uL from E3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 3.0 uL/sec

Dispensing 1.0 uL into E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 3.0 uL/sec

Aspirating 5.0 uL from E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 5.0 uL into E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 15.0 uL/sec

Aspirating 10.0 uL from E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 10.0 uL into E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Aspirating 15.0 uL from E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 3.0 uL/sec

Dispensing 15.0 uL into E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 1.2000000000000002 uL/sec

Moving to E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Blowing out at E1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Touching tip

Dropping tip into Trash Bin on slot A3

Picking up tip from A5 of Opentrons Flex 96 Tip Rack 50 µL on slot D3

Aspirating 1.0 uL from B2 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 3.0 uL/sec

Dispensing 1.0 uL into F1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 3.0 uL/sec

Aspirating 2.0 uL from F1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 2.0 uL into F1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 15.0 uL/sec

Aspirating 3.0 uL from F1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 3.0 uL into F1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Aspirating 4.0 uL from F1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 3.0 uL/sec

Dispensing 4.0 uL into F1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 1.2000000000000002 uL/sec

Moving to F1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Blowing out at F1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Touching tip

Dropping tip into Trash Bin on slot A3

Picking up tip from B5 of Opentrons Flex 96 Tip Rack 50 µL on slot D3

Aspirating 1.0 uL from D1 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 3.0 uL/sec

Dispensing 1.0 uL into F1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 3.0 uL/sec

Aspirating 2.0 uL from F1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 2.0 uL into F1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 15.0 uL/sec

Aspirating 3.0 uL from F1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 3.0 uL into F1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Aspirating 4.0 uL from F1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 3.0 uL/sec

Dispensing 4.0 uL into F1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 1.2000000000000002 uL/sec

Moving to F1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Blowing out at F1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Touching tip

Dropping tip into Trash Bin on slot A3

Picking up tip from C5 of Opentrons Flex 96 Tip Rack 50 µL on slot D3

Aspirating 1.0 uL from D3 of NEST 96 Well Plate 100 µL PCR Full Skirt on slot D2 at 3.0 uL/sec

Dispensing 1.0 uL into F1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 3.0 uL/sec

Aspirating 5.0 uL from F1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 5.0 uL into F1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 15.0 uL/sec

Aspirating 10.0 uL from F1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Dispensing 10.0 uL into F1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 6.0 uL/sec

Aspirating 15.0 uL from F1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 3.0 uL/sec

Dispensing 15.0 uL into F1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1 at 1.2000000000000002 uL/sec

Moving to F1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Blowing out at F1 of NEST 96 Well Plate 100 µL PCR Full Skirt on Thermocycler Module GEN2 on slot B1

Touching tip

Dropping tip into Trash Bin on slot A3

Closing Thermocycler lid

Setting Thermocycler lid temperature to 105.0 °C

Thermocycler starting 20 repetitions of cycle composed of the following steps: [{'temperature': 37, 'hold_time_minutes': 2}, {'temperature': 20, 'hold_time_minutes': 1}]

Setting Thermocycler well block temperature to 60.0 °C with a hold time of 10.0 minutes and 0 seconds

Setting Thermocycler well block temperature to 4.0 °C with a hold time of 2.0 minutes and 0 seconds

Setting Thermocycler lid temperature to 37.0 °C

Opening Thermocycler lid